- Control of Contractors Guidance:

Two minute risk assessments

Location of work

Task

Date and time

Company

Name and signature Before we start work:; Yes; N/A. 1; Have we received clear instructions relating to the task and do we understand them?. 2; Have we assessed ALL of the risks associated with this task? Have we measures in place to address these?. 3; Can we get to and from the job safely? Is the work area housekeeping clear? Can we slip or trip?. 4; Are we carrying out any hot works? If so do we have a permit?. 5; Are we working on/near the electrical system? If so, have we tested and confirmed source is dead at EACH point of work using correct voltage tester and proprietary proving unit?. 6; If it’s possible that the task may be within the vicinity of asbestos, have we all seen the asbestos register?. 7; If working at height, have we got the appropriate equipment?. 8; Is our electrical equipment PAT tested and up to date? (exemption for items double insulated). 9; If the task involves working in a confined space, have we considered all the risks involved and have measures in place to control them?. 10; Have we considered the effect of our activities on others?. 11; Have we got the correct PPE?. The task SHOULD NOT START until you are able to tick a Yes box alongside each of the eleven questions..