## Cardiff
Specimen/Investigation | Department | Specimen Type/Container/Volume Required | Guidance for Test Requesting/Sample Collection | Transport/Storage Conditions | Turnaround Times | Additional Information | Accreditation Status
Antimicrobial Assays | Processed in Biochemistry | Specimen of clotted blood; for paediatric samples use heparin capillary collection tubes (x2) | Clotted samples - 5-10ml each; minimum of 50µl of plasma is required for paediatrics | Please contact CAV Biochemistry for up to date information | Please contact CAV Biochemistry for up to date information |  | Details on dosing and timing of levels available in Cardiff and Vale Good Prescribing Guide or other local policies | Please refer to CAV Biochemistry Schedule of Accreditation (accredited body reference 8989)
AFB Microscopy (Sputum, Pus, or Tissue) | Wales Centre for Mycobacteria | Ideally, three samples of ≥5 ml in sterile universal containers | Only use Sterilin containers for these samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. | Samples should be transported at ambient temp as quickly as possible. There is no deadline for sample receipt but delays in sample transport may affect sample quality. | All smear positive microscopy results are phoned within 24 hours of receipt. |  | Accredited to ISO 15189:2022
AFB Culture (Sputum, Pus, or Tissue) | Wales Centre for Mycobacteria | Ideally, three samples of ≥5 ml in sterile universal containers | Sputum - send specimens taken on 3 consecutive days. Tissue samples to be sent in sterile saline. | Samples should be transported at ambient temp as quickly as possible. There is no deadline for sample receipt but delays in sample transport may affect sample quality. | A final culture result is issued after seven weeks. |  | Accredited to ISO 15189:2022
Antenatal screening (Syphilis, Hepatitis B and HIV serology) | Wales Specialist Virology Centre | 1x 6ml sample clotted blood sample (red/yellow top vacutainer) | If sending paper request, specific antenatal request form should be used and all relevant boxes ticked to confirm testing required and consent obtained. If no boxes are ticked, samples will be stored without testing. Samples requested electronically imply testing has been discussed and consent obtained | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 5 days | . | PHW testing Accredited to ISO 15189:2022
Antifungal Assays: Flucytosine Posaconazole Itraconazole Voriconazole Isavuconazole | Mycology Regional Reference Unit (referred to UKHSA Bristol Mycology reference lab/Toxicology Llandough) | Send 5-10 ml of clotted blood sample (red top vacutainer) | Details on dosing and timing of levels is available in Cardiff and Vale Good Prescribing Guide or other local policies. Please DO NOT sent SST vacutainers (Gold/Yellow Top), the gel plug has been known to interfere with the antifungal level results. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 1-7 days* | For a comprehensive list of Antifungal levels available please visit the Cardiff Mycology Reference Lab Website. | Accredited to ISO 15189:2022 Checked 13/10/25. (accredited body reference 8043)
Antimicrobial Assays not processed in Biochemistry (Referred to Bristol ARL) | Bacteriology | Specimen of clotted blood (yellow top) For paediatric samples use heparin capillary collection tubes (x2) | Clotted samples - 5-10ml each; minimum of 50µl of plasma is required for paediatrics | Transport to the laboratory as soon as possible. | 1 day upon receipt in ARL | Details on dosing and timing of levels available in Cardiff and Vale Good Prescribing Guide or other local policies. Processed in Biochemistry: Amikacin, Gentamicin, Vancomycin, Tobramycin. Referred to Bristol : e.g. Daptomycin, Teicoplainin. | Accredited to ISO 15189:2022 Checked 13/10/25. (accredited body reference 8043)
Aspergillus antigen - Galactomannan (blood/respiratory sample) | Mycology Regional Reference Unit | 5-10ml clotted (red top vacutainer) or EDTA (purple top vacutainer) blood sample. Respiratory samples - up to 20ml for each lobe to be tested, in white top sterile universal container. Separate containers needed for additional testing. | When sending a blood sample, a clotted sample (red top vacutainer) is preferred for this assay. Dedicated samples are required Only use Sterilin containers for respiratory samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2-5 days | TAT is dependent on when the sample arrives at the laboratory - delays can occur when referring samples from other hospitals. | Accredited to ISO 15189:2022
Aspergillus antibody | Mycology Regional Reference Unit | 5-10ml clotted (red top vacutainer) or EDTA (purple top vacutainer) blood sample. | When sending a blood sample, a clotted sample (red top vacutainer) is preferred for this assay. Please DO NOT send respiratory samples for this assay as they are not suitable and will be rejected. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2-5 days | TAT is dependent on when the sample arrives at the laboratory - delays can occur when referring samples from other hospitals. | Accredited to ISO 15189:2022
Aspergillus PCR (blood/respiratory sample) | Mycology Regional Reference Unit | 5-10ml EDTA (purple top vacutainer) or clotted (red top vacutainer) blood sample Respiratory samples - up to 20ml for each lobe to be tested, in white top sterile universal container. Separate containers needed for additional testing. For other samples such as CSF, fluid from sterile sites or tissue etc. please contact the laboratory prior to sending for the relevant information. | When sending a blood sample, an EDTA (purple top vacutainer) is preferred for this assay. Dedicated samples are required Only use Sterilin containers for respiratory samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. For the testing of other samples such as CSF, fluid from sterile sites or tissue etc. please contact the laboratory prior to sending. Sputum Samples are not suitable for this assay. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2-5 days | TAT is dependent on when the sample arrives at the laboratory - delays can occur when referring samples from other hospitals. | Accredited to ISO 15189:2022
Aspirates/fluids from sterile sites including joint aspirates & ascitic fluid (MC&S) | Bacteriology | Up to 20ml in a white top sterile universal container Please do not use primary tubes (test tube) for these investigations. | Collect specimens before antimicrobial therapy where possible. | Transport time should be as short as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature – if acute infection is suspected and the result may affect medical management of the patient, the sample should be received within 4 hours of collection. | 4 days. 7 days if extended culture required. 14 days for fungal culture | Joint fluids - state whether prosthetic or metalwork present. Molecular testing available for joint aspirates that meet the following criteria: 1. All native synovial joints from patients <5 years old. 2. All native joints with the clinical details 'hot', 'swollen joint', or '?septic artritis'. 3. All joint aspirates from emergency department. 4. Prosthetic joint fluids where the clinical details indicate 'acute PJI' or 'sepsis'. | Accredited to ISO 15189:2022 (Sterile fluids received in BACTEC bottles are not currently accredited)
Aspirates, fluids from sterile sites for fungal investigations | Mycology Regional Reference Unit | Up to 20ml in a white top sterile universal container. Please send a dedicateed sample for mycology. | Please included relevent clinical information on the request form. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | Microscopy - 1 - 5 days Yeast isolates - 7 - 10 days Mould Isolate - 14 - 21 days | TAT is dependent on what isolate grow (yeast or mould) | Accredited to ISO 15189:2022
Avian Precipitins | Mycology Regional Reference Unit (referred to Manchester Immunology) | 5-10ml clotted (red top vacutainer) blood sample. | Please DO NOT sent SST vacutainers (Gold/Yellow Top), the gel plug has been known to interfere with the assay producing incorrect results. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 21 days* |  | Accredited to ISO 15189:2022 (accredited body reference 8195)
Beta-D-Glucan | Mycology Regional Reference Unit | 5-10ml clotted (red top vacutainer) blood sample. For other samples such as CSF and fluid from sterile sites etc. please contact the laboratory prior to sending for the relevant information. | Dedicated samples are required due to contamination concerns. Please note: lysed samples will not be processed. All respiratory sample are unsutiable for this assay and will be rejected. For the testing of other samples such as CSF and fluid form sterile sites please contact the laboratory prior to sending. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2.-3 days | TAT is dependent on when the sample arrives at the laboratory - delays can occur when referring samples from other hospitals. | Accredited to ISO 15189:2022
Molecular Blood Cuture testing using Biofire Film Array | Prince Charles Hot Lab | Bactec bottles (Use specific bottles for infants) 8-10 mL required for adult blood culture bottles and 1-4 mL required for paediatric blood cultures |  | Ambient temperature. Transport time should be as short as possible. Blood cultures need to be processed in the laboratory within 4 hours of being taken. | 5 days | Some blood cultures will be incubated for longer depending on certain clinical criteria. | Not accredited.
Blood cultures (MC&S) | Bacteriology | Bactec bottles (Use specific bottles for infants) 8-10 mL required for adult blood culture bottles and 1-4 mL required for paediatric blood cultures | Underfilled bottles may result in delayed or unreliable results. It is recommended to take two sets of blood cultures. | Ambient temperature. Transport time should be as short as possible. Blood cultures need to be processed in the laboratory within 4 hours of being taken. Do NOT send blood culture bottles through the UHW sample POD system. | 5 days 10-21 days for extended culture | All positive results are phoned as soon as result is available. NB. Some blood cultures will be incubated for longer depending on certain clinical criteria. | Accredited to ISO 15189:2022
Blood cultures (mycology) | Mycology Regional Reference Unit | Bactec bottles (Use specific lyco/lytic bottles on request from Microbiology or bottles for infants) | Please clearly specify fungal cultures required. | Ambient temperature. Transport time should be as short as possible. Blood cultures need to be processed in the laboratory within 4 hours of being taken. | 21 days | All positive results are phoned as soon as result is available | Accredited to ISO 15189:2022
Bordetella pertussis culture | Bacteriology | Use wire-shafted pernasal swabs. Molecular testing only: red top dry swab |  | Ambient temperature - Note that culture can be affected by a number of factors, as the target organism is delicate including delays in processing and specimen quality. Transport IMMEDIATELY. | 8 days | Please note: other sample types for pertussis culture will be rejected. | Accredited to ISO 15189:2022
Bronchoalveolar lavage (BAL) and non-directed broncoalveolar lavage (NBL) (MC&S) and associated specimens | Bacteriology | Up to 20ml for each lobe to be tested, in white top sterile universal container. Please do not use primary tubes (test tube) for these investigations. Separate containers needed for additional testing. | Only use Sterilin containers for these samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. | Transport time should be as short as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days. 7 days for extended culture. | Send for MC&S, virology, PCP/mycology and TB, as appropriate. Please send a separate sample for each request wherever possible eg: 20ml in 3-4 sterile universal containers. | Accredited to ISO 15189:2022
Bronchoalveolar lavage (mycology) - for Fungal Culture Investigations | Mycology Regional Reference Unit | Up to 20ml for each lobe to be tested, in white top sterile universal container. Separate containers needed for additional testing. | Only use Sterilin containers for these samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 1-5 days (microscopy) - from the CAV catchment. 14-21 days (culture) | Send for MC&S, virology, PCP/mycology and TB, as appropriate. Please send a separate sample for each request wherever possible eg: 20ml in 3-4 sterile universal containers. Microscopy results are reported as soon as available. | Accredited to ISO 15189:2022
Bronchoalveolar lavage (TB) | Wales Centre for Mycobacteria | Up to 20ml for each lobe to be tested, in white top sterile universal container. Separate containers needed for additional testing. | Only use Sterilin containers for these samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. |  | 7 weeks for negative result | Send for MC&S, virology, PCP/mycology and TB, as appropriate. Please send a separate sample for each request wherever possible eg: 20ml in 3-4 sterile universal containers. | Accredited to ISO 15189:2022
Anti-Streptolysin O (ASO) | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | Up to 7 days. | Please do not send EDTA as plasma is unsuitable. Note: samples requesting anti-DNAse B will no longer be processed due to a current absence of test provision in the UK. For ASO testing: the upper limit of normal for adults and children over 5 years is 200 IU/ml. Levels above 200 IU/ml (or 100 IU/ml in younger children) may suggest recent streptococcal infection but a single sample should not be relied upon for diagnosis. If the clinical picture suggests recent group A streptococcal infection and/or post streptococcal complications, please send a further specimen in 10-14 days to look for rising titres (if not already done). WHO advises that a four-fold rise in titre between two samples would be indicative of recent streptococcal infection. Note that anti-streptolysin O (ASO) antibodies may be produced in response to group A, C and G streptococcal infections. A negative titre does not exclude infection, discuss with microbiology if guidance is needed. | Not currently accredited. No plans to accredit in 2026.
Borrelia burgdorferi IgG/IgM (Lyme) | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. | Please include full information including clinical presentation and duration of symptoms. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days for local testing. 6 days for referred samples*. Non-negatives sent to Reference Lab to confirm. Interim report issued. |  | PHW testing Accredited to ISO 15189:2022 Confirmatory serology/PCR referred to Porton Down Accredited to ISO 15189:2022 Checked 13/10/25 (accredited body reference 9304)
Bronchoalveolar lavage (Virology) | Wales Specialist Virology Centre | Up to 20ml for each lobe to be tested, in white top sterile universal container. Separate containers needed for additional testing. | Only use Sterilin containers for these samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | Dependent on tests requested. | Send for MC&S, virology, PCP/mycology and TB, as appropriate. Please send a separate sample for each request wherever possible eg: 20ml in 3-4 sterile universal containers. | PHW testing Accredited to ISO 15189:2022
Candida PCR | Mycology Regional Reference Unit | 5-10ml EDTA (purple top vacutainer) or clotted (red top vacutainer) blood sample. For other samples such as CSF, fluid from sterile sites or tissue etc. please contact the laboratory prior to sending for the relevant information. | Dedicated samples are required. All respiratory samples are unsuitable for this assay and will be rejected. For the testing of other samples such as CSF, fluid from sterile sites or tissue etc. please contact the laboratory prior to sending. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 1-5 days | Please refer to the Cardiff Mycology Reference laboratory website if further information is required. TAT's are dependent on when the sample arrives at the laboratory - delays can occur when referring samples from other hospitals. | Accredited to ISO 15189:2022
Cerebrospinal fluid (CSF) (MC&S) | Bacteriology | White top sterile universal container. For cell count, Gram staining and culture send 2‑3ml in each of a minimum of 2 containers, separate containers needed for additional testing. 10mL is required for TB testing. | Ideally send samples 1 and 3 to microbiology, and sample 2 for biochemistry testing. Clearly mark sample number on container. Collect specimens before antimicrobial therapy where possible. | Ambient temperature – to be received within 2 hours or as soon as possible. | 3 days | Send separate specimens for glucose and protein analysis to the appropriate departments, and a separate sample for Virology/Molecular. Microscopy and positive 24hr culture results are phoned immediately. | Accredited to ISO 15189:2022
Chlamydia/Gonorrhoea DNA detection (NAAT) | Wales Specialist Virology Centre | ROCHE dedicated swab/urine collection containers for NAAT testing. | Urine: Ensure correct sample volume is added to collection tubes, following instructions provided with the collection kit. Volumes outside of the minimum/maximum fill lines will be rejected. Genital/Rectal/Throat/Eye Swabs: Follow the instructions with the collection kit, ensuring only ONE swab is deposited in the container and it is snapped off at the marked height. | Transport and storage: Ambient temperature for samples in Roche cobas collection tubes. Urines in universal containers must be sent to the lab within 24 hours. | 4 days | Samples in expired collection kits will be rejected. Rectal swabs containing faecal material may return an invalid result. Urogenital specimens from patients who have used carbomer-containing products may generate invalid or false negative results. In addition, products containing carbomer(s) used to lubricate a speculum, including vaginal lubricants, creams and gels may interfere with the test and should not be used during or prior to collecting urogenital specimens. Once the samples have been added to the Cobas buffer in the collection tube, they are stable at room temperature for 12 months (provided the collection kit has not expired). | Not currently accredited. Planned to apply for accreditation in 2026/7.
CMV IgG/IgM antibodies | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 7 days for local processing. 10 days for referred samples. | IgG Avidity sent to HSL Analytics. | PHW testing Accredited to ISO 15189:2022 Referred IgG avidity testing Accredited to ISO 15189:2022 Checked 13/10/2025. (accredited body reference 8169)
CMV/EBV quantitative PCR (blood) | Wales Specialist Virology Centre | 1 x 5ml EDTA whole blood (purple top) (or 1 x 1ml paediatric samples) Plasma/serum samples are not suitable for this assay. Other sample types may be acceptable but have not been validated using the whole blood extraction method. Please contact the laboratory for more information. | CMV & EBV dual testing can be performed on a single sample. If requesting electronically, please use the dual testing option to avoid creating 2 separate requests. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 4 days for local processing. 7 days for referred samples. | Tested daily Mon-Fri, if numbers permit - specimens are batch tested. New positive results and increased viral loads are phoned. | Not currently accredited. Planned to apply for accreditation in 2026/7.
Contact lens & case | Bacteriology | Send contact lenses in original case. |  |  | 3 days |  | Accredited to ISO 15189:2022
Corneal Scrapes | Bacteriology | Pre-prepared kit available from Bacteriology containing sterile broth for corneal scrape culture, glass slide, red top dry swab and saline for Acanthamoeba testing. | See checklist provided with kit. | Ambient temperature. Transport to the lab as soon as possible. | 4 days 10 days for Acanthamoeba | Do not leave blade in saline as it can rust and has a detrimental effect on Acanthamoeba culture. | Accredited to ISO 15189:2022
Cough swab (C&S) | Bacteriology | Amies charcoal swab | Cystic Fibrosis patient's only | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | Swabs from patient's other then CF will be rejected. Please send a sputum sample instead. | Accredited to ISO 15189:2022
CPO Screening Swabs | Prince Charles Hot Lab | Copan Transystem dual swabs | Copan Transystem dual swabs must be used for collection. Each swab sheath houses two swabs. One will be processed for PCR and one for culture. Specimens for CPO PCR/culture should be collected as follows: The Rectal site sample must be collected using each swab. Both swabs must be dampened in sterile saline before being used on dry sites. Label specimens with Patient ID and seal them in a plastic sample bag with the corresponding request form. Heavily soiled swabs are inappropriate for Rapid Molecular PCR and will not be processed. Please arrange processing via Patient Flow/Bed Management Teams. | Samples should be transported to the laboratory and processed as soon as possible. If transfer of sample is delayed, refrigeration is preferable to storage at ambient temperature. Delays of over 24 hours are undesirable. | 4 hours |  | Not Accredited.
CPO Screening Swabs | Bacteriology | Rectal or wound swab in amies charcoal swab or faeces in blue top universal container. Urine also accepted in red top boric acid container |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | Rapid molecular result available by prior agreement only. COPAN Transystem dual swabs must be used | Accredited to ISO 15189:2022
Cryptococcal antigen (blood) | Mycology Regional Reference Unit | 5-10ml clotted (red top) blood sample. |  | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2 days (Dependant on sample receipt performed as required.) |  | Accredited to ISO 15189:2022
Cryptococcal antigen (CSF) | Mycology Regional Reference Unit | 1ml CSF in white top sterile universal container |  | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2 days (Dependant on sample receipt performed as required.) |  | Accredited to ISO 15189:2022
Direct Detection of M. tuberculosis complex DNA and molecular resistance to Rifampicin in respiratory and CSF samples by PCR | Wales Centre for Mycobacteria | ≥1 ml for culture and PCR: Sputum Broncho-Alveolar Lavage Tracheal aspirates Non-directed bronchial lavage CSF | Positive cultures should be transported at ambient temp as quickly as possible. | Samples should be transported at ambient temp as quickly as possible. | PCR results are reported within two days of receipt of sample and/or request in the WCM. |  | Not Accredited. Planned to apply for accreditation in 2026/7.
Direct PCR for Mycobacteria | Wales Centre for Mycobacteria | ≥1 ml for culture and PCR |  | Samples should be transported at ambient temp as quickly as possible. | Contact the WCM for current TATs. | Samples are sent to Leeds NHS Microbiology. | Accredited to ISO 15189:2022
DNA fingerprinting of M. tuberculosis complex strains | Wales Centre for Mycobacteria | Separate sample not required as this test is done on the same sample for Species ID. | Separate sample not required as this test is done on the same sample for Species ID. | Separate sample not required as this test is done on the same sample for Species ID. | Contact the WCM for current TATs |  | Not Accredited. No current plans to add to scope.
Ear swab (C&S) | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days |  | Accredited to ISO 15189:2022
Dry blood spot testing (HBV, HCV, HIV, Syphilis) | Wales Specialist Virology Centre | Dried blood spot sample on collection card. A minimum of two spots should be sent, with the blood filling the marked area and fully soaked through the card. |  | All Transport: Ambient temperature acceptable | 7 days. | HCV PCR reflex testing if HCV antibody positive - requires an additional 2 spots on card. | Not currently accredited. No plans to accredit in 2026/7.
EBV Serology (EBNA IgG, VCA IgG & IgM) | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days |  | PHW testing Accredited to ISO 15189:2022
Endocervical swab for Neisseria gonorrhoeae (C&S) | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 4 days | For molecular investigation of Chlamydia/gonorrhoea, see NAAT section. Non-endocervical swabs are not suitable for Neisseria gonorrhoeae culture. | Accredited to ISO 15189:2022
Environmental water sampling | Wales Centre for Mycobacteria | 500 ml sterile plastic bottles |  | Samples must reach the laboratory within 24 hours of collection. | A final culture result is issued after seven weeks. |  | Not Accredited. No current plans to add to scope.
ESBL Screen | Bacteriology | Rectal or wound swab in amies charcoal swab or faeces in blue top universal container. Urine also accepted in red top boric acid container |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | As advised by IP&C only | Accredited to ISO 15189:2022
Eye swab (C&S) | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | For molecular investigation of Chlamydia, see NAAT section below | Accredited to ISO 15189:2022
Eye Swabs (HSV1&2/Adenovirus PCR ) | Wales Specialist Virology Centre | Dry red topped swab. | Please collect swab prior to the application of fluorescein as this may cause inhibition of the test. | Transport and storage: Ambient temperature | 2 days | For molecular investigation of Chlamydia, see NAAT section below | HSV 1&2: PHW testing Accredited to ISO 15189:2022 Adenovirus: Not currently accredited. Planned to apply for accreditation in 2026/7.
Faeces for Helicobacter pylori | Bacteriology | Blue top sterile faeces container. With the spatula provided transfer a grape-sized portion of faeces (0.5ml) | Sample must be received within 72 hours from collection. Please state date/time of collection on form. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | Referred test: 7 days upon receipt in PHW Singleton | Please ensure collection date and time have been written on the request form. Failure to do so may lead to the sample being rejected if we cannot establish the time between collection and receipt in the laboratory. | Accredited to ISO 15189:2022
Faeces (Rotavirus/Adenovirus/ Enterovirus as appropriate) | Wales Specialist Virology Centre | Blue top sterile faeces container. With the spatula provided transfer a pea-sized portion of faeces or equivalent volume of fluid. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | Enterovirus - 2 days for local processing. 5 days for referred samples. Rotavirus - 4 days for local processing. 7 days for referred samples. | Enterovirus tested daily Mon-Fri. If sample rec’d by 4.30pm on previous day 24hr turnaround. | PHW testing Accredited to ISO 15189:2022
Faeces: Molecular diagnostic PCR testing for Clostridioides difficile and Norovirus | Prince Charles Hot Lab | Blue top sterile faeces container. With the spatula provided transfer a grape-sized portion of faeces (0.5ml) | Investigation for C.difficile and Norovirus will performed when: - Diarrhoeal specimens (Bristol stool chart 5-7) from all patients over the age of 65 years. - Diarrhoeal specimens (Bristol stool chart 5-7) from any patient over the age of 2 years with any of the following: • documented history of recent antibiotic exposure in the 2 weeks prior to symptoms developing; • known to be resident in a care home or other community care facili • known to be recently hospitalised (discharged from hospital in the 2 weeks prior to symptoms developing); • when specifically requested If investigation for C. difficile/norovirus is requested, and the faecal specimen is formed i.e. Bristol stool chart 1-4, the specimen will not be tested. Repeat testing of C. difficile toxin positive cases is not advised for patients who are still symptomatic within a period of 28 days unless symptoms resolve and recur, and there is a need to confirm recurrent C. difficile disease. Re-testing within 28 days will only occur after discussions between clinicians and consultant microbiologists. Repeat testing of C. difficile toxin negative cases within 1 week of an original screen is not advised as the negative predictive value of a PCR is test is very high. Repeat testing after 1 week, where it is felt that a patient may have acquired C. difficile subsequent to their previous PCR test, may be appropriate. Routine testing on children less than 2 years of age is not routinely performed. In these cases please contact the Consultant Microbiologist to doscuss. For other routine targets please send a separate specimen For rapid targets please send a separate specimen and request form (with the addition of another rapid sticker) select the test molecular enterics on Welsh Clinical Portal (WCP) | Samples should be transported to the laboratory and processed as soon as possible. If transfer of sample is delayed, refrigeration is preferable. Samples are stable for up to 5 days if refrigerated. Delays of over 24 hours are undesirable if stored at ambient temperature. |  |  | Not Accredited.
Faeces, molecular detection of Salmonella, Shigella, VTEC, Campylobacter, Cryptosporidium, Giardia, C. difficile and Norovirus | Bacteriology | Blue top sterile faeces container. With the spatula provided transfer a grape-sized portion of faeces (0.5ml) | Ideally send three stool specimens collected over no more than a ten-day period. It is usually recommended that specimens are collected every other day. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 1 day | All positive results are phoned as soon as result is available. Norovirus and C.difficile rapid molecular result available by prior arrangement only. | Accredited to ISO 15189:2022
Faeces, ova, cysts and parasites (other than Cryptosporidium & Giardia) by microscopy | Bacteriology | A fresh faeces sample should be collected into a labelled blue top plain container (no additive) and must be transported to the laboratory as soon as possible. The sample container and request form must be clearly marked with the date and time of sample collection. If examination for threadworm only is required, please send a moist plain perianal swab. | Ideally send three stool specimens collected over no more than a ten-day period. It is usually recommended that specimens are collected every other day. | Stool specimens requiring microscopy for amoebic infection should be brought to the laboratory and examined within 1 hour of passing, as otherwise the Entamoeba trophozoites may disintegrate - please notify the laboratory of these samples in advance of collection.If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 7 days (Longer for positive results referred to reference laboratories for confirmation.) | For all samples, it is important to provide details of symptoms, risk exposure and full international travel history in Clinical History, to aid examination and interpretation in the laboratory. If a patient is presenting with fulminant colitis of unknown cause, or there is high suspicion of amoebic dysentery (Entamoeba histolytica), please specify this in the clinical details as additional testing may be indicated. | Accredited to ISO 15189:2022
Fungal isolates for identification | Mycology Regional Reference Unit | Pure isolate cultures on sabouraud dextrose (sab) media, Sab slope or transport swab. | Please state the relevant clinical information on the request form. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Incubate until ready for transport. | Yeast Isolates - 7-10 days Mould Isolates - 14 -21 days | Delays can occur – this depends on the recovery and necessity to purity plate isolates for accurate identification. | Accredited to ISO 15189:2022
Hepatitis A IgG/IgM antibodies | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days |  | PHW testing Accredited to ISO 15189:2022
Hepatitis B markers (including immunity/confirmatory testing) | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days | Second sample required to confirm new positives. | PHW testing Accredited to ISO 15189:2022
Hepatitis C antibody screen | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days for local processing. 6 days for referred samples. | Second sample required to confirm new positives. | PHW testing Accredited to ISO 15189:2022
Hepatitis D antibody | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. 1 x 5ml EDTA blood (purple top). | Routine requests plus reflex testing of new HBsAg positives. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 14 days | Second sample required for confirmation PCR. | Not Accredited. Planned to apply for accreditation in 2026/7.
Hepatitis E IgG/IgM antibodies | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 7 days for local processing. 10 days for referred samples. |  | PHW testing Accredited to ISO 15189:2022
High vaginal swab (HVS) for Candida, trichomonas and bacterial vaginosis | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | For molecular investigation of Chlamydia/gonorrhoea, see NAAT section below | Accredited to ISO 15189:2022
HIV serology (Ag/Ab) & confirmatory testing | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days for local processing. 6 days for referred samples. | Second sample required to confirm new positives. | PHW testing Accredited to ISO 15189:2022
HSV IgG | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | Up to 7 days for local processing. Up to 10 days for referred samples. | Please note: this assay does not differentiate between HSV-1 and HSV-2; therefore, TAT may be longer if sample requires referral to external laboratory. Please contact the lab to discuss if applicable. | PHW testing Accredited to ISO 15189:2022
HTLV serology | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days for local processing. 6 days for referred samples*. | Confirmatory/PCR testing for reactive samples is referred to UKHSA Colindale, Virus Reference Laboratory. | PHW testing Accredited to ISO 15189:2022 Referred confirmatory/PCR testing Accredited to ISO 15189:2022 Checked 13/10/25. (accredited body reference 8825)
Intrauterine contraceptive device (IUCD) | Bacteriology | Send the device in a white top sterile universal container |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 11 days | Specimens will be rejected if relevant clinical information not provided. | Accredited to ISO 15189:2022
Intravascular Cannulae/Tips | Bacteriology | Should be no more than 5cm in length. Send in a white top sterile universal container |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days |  | Accredited to ISO 15189:2022
Isolates received for antifungal susceptibility testing | Mycology Regional Reference Unit for yeast - Mould Isolates for antifungal susceptibility referred to UKHSA Bristol . | Pure isolate cultures on sabouraud dextrose (sab) media, Sab slope or transport swab. | Please state the relevant clinical information on the request form. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Incubate until ready for transport. | Yeast Isolates 7-10 days. Mould Isolates 14-21 days*. | For correct interpretation of the MIC values each isolate will be identified using appropriate techniques. TAT's could be affected if an isolate is not pure and further manipulation of the sample is required. | Accredited to ISO 15189:2022 For Yeasts - Moulds are sent to Bristol 8043. Checked 13/10/25.
Measles IgG/IgM | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. | For IgM, sample at least 5 days after onset. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 4 days for local processing. 7 days for referred samples. | Measles IgG testing is available urgently by arrangement. | PHW testing Accredited to ISO 15189:2022
Meningococcal/pneumococcal PCR (Blood) | Wales Specialist Virology Centre | 1 x 5ml EDTA whole blood (purple top) (or 1 x 1ml paediatric samples) Minimum of 0.5ml required for testing. Plasma/serum samples are not suitable for this assay. | Dedicated samples are required. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 2 days for local processing. 5 days for referred samples. |  | PHW testing Accredited to ISO 15189:2022
Molecular diagnostic testing for bacterial/viral meningitis/encephalitis (CSF) | Wales Specialist Virology Centre | Minimum of 0.5ml in white top sterile universal container. If suboptimal volume received, testing may still be possible but results should be reviewed with caution. | Dedicated samples are required. | To ensure high quality of samples, samples should be transported as fast as possible at indicated temperature. If there is a delay in sending to the laboratory, the sample must be stored at 2-8degC. Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC. Maximum 5 days from specimen collection to testing. | 2 days for local processing. 5 days for referred samples. | Tested daily Mon-Fri. If sample rec’d by 4.30pm on previous day 24hr turnaround. For other investigations, please contact the Duty Virologist. | PHW testing Accredited to ISO 15189:2022
Mouth swab (C&S) | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days |  | Accredited to ISO 15189:2022
MRSA Screening Swabs | Prince Charles Hot Lab | Copan Transystem dual swabs | Copan Transystem dual swabs must be used for collection. Each swab sheath houses two swabs. One will be processed for PCR and one for culture. Specimens for MRSA PCR/culture should be collected as follows: Each site (nose and/or groin) should be collected using separate swabs and must be dampened in sterile saline before being used on dry sites. Label specimens with Patient ID and seal them in a plastic sample bag with the corresponding request form. The test is only validated to be used with nose and groin swabs in patient's over 2 years old. Please arrange processing via Patient Flow/Bed Management Teams | Samples should be transported to the laboratory and processed as soon as possible. If transfer of sample is delayed, refrigeration is preferable to storage at ambient temperature. Delays of over 24 hours are undesirable. | 4 hours |  | Not Accredited.
MRSA/MSSA Screening Swabs | Bacteriology | Nose and groin swab, plus umbilical for neonates on amies charcoal swab. Swabs from wounds/indwelling devices also accepted. | MSSA screening only for Orthopaedic, renal and haematology patients. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | Please note: throat and axilla swabs are not routinely processed. Throat swabs are processed for holiday screen or inter hospital transfer only. Rapid molecular result available by prior agreement only. COPAN Transystem dual swabs must be used. | Accredited to ISO 15189:2022
Mumps IgG/IgM | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. | For IgM, sample at least 5 days after onset. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 4 days for local processing. 7 days for referred samples. | Mumps IgG testing is available urgently by arrangement. | PHW testing Accredited to ISO 15189:2022
Nasal swab (C&S) | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | Nasal swabs are not suitable for Bordetella pertussis culture. Please send a wired pernasal swab. | Accredited to ISO 15189:2022
Other/unusual samples (Mycology) | Mycology Regional Reference Unit | If the sample type required is not present on the User Handbook please contact the Mycology Reference Laboratory who will help with your enquiry. | Please fully indicate the sample type, investigation required and clinical details. Please state on the form a Request for Professor Lewis White. | This will be decided when contact has been made with the Mycology Reference Laboratory for advice. | N/A | It is possible for certain samples to have fungal investigations performed which are not normally performed on them. These will not be acredited to ISO 15189 and are used only as informative when all other testing is negative. If there are any further investigations required which are not in the normal remit of testing please contact the Mycology Reference Laboratory. | Not Accredited
Parvovirus IgG/IgM/DNA | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 4 days for local processing. | Parvovirus DNA now tested in house. | PHW testing Accredited to ISO 15189:202 Parvovirus DNA Not Accredited. Planned to apply for accreditation in 2026/7
Perianal swab (Enterobius vermicularis) | Bacteriology | Plain moistened swab in swab container, no transport medium. | Use a plain moistened swab to swab the perianal skin first thing in the morning before washing. Faeces samples are not appropriate. Roll the swab over the perianal area. Place the swab back in the container (transport medium is NOT required) and seal in a plastic bag. | Please transport to laboratory as soon as possible. | 7 days | Faeces and Sellotape slides are not appropriate samples and will be rejected. | Accredited to ISO 15189:2022
Peritoneal fluid (Continuous ambulatory peritoneal dialysis fluid) | Bacteriology | 10-20ml in white top sterile universal container Please do not use primary tubes (test tube) for these investigations. |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 4 days 14 days for fungal culture. |  | Accredited to ISO 15189:2022
Phenotypic testing of clinically significant non-tuberculous mycobacteria on request | Wales Centre for Mycobacteria | Positive liquid culture ≥3 ml aliquot LJ slope with positive growth = Entire LJ slope Positive mycobacterial blood culture = ≥1 ml aliquot | Positive cultures should be transported at ambient temp as quickly as possible. | Samples should be transported at ambient temp as quickly as possible. | Contact the WCM for current TATs | Samples are sent to NMRS-South at Colindale | Accredited to ISO 15189:2022
Pleural fluid | Bacteriology | Up to 20ml in white top sterile universal container Please do not use primary tubes (test tube) for these investigations. |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 4 days 14 days for fungal culture. |  | Accredited to ISO 15189:2022
Pneumocystis jirovecii PCR (PCP PCR/PJP PCR) | Mycology Regional Reference Unit | Respiratory samples - up to 20ml for each lobe to be tested, in white top sterile universal container. Separate containers needed for additional testing. Throat swab - dry red topped swab. | Please do not send charcoal swabs for PCP PCR - the charcoal media causes inhibition of the assay. These samples will be rejected. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2-3 days | TAT is dependent on when the sample arrives at the laboratory - delays can occur when referring samples from other hospitals. | Accredited to ISO 15189:2022
Pus/ exudate and drain fluid | Bacteriology | Aspirate up to 20ml into a white top sterile universal container Please do not use primary tubes (test tube) for these investigations. | Samples of pus are preferred to swabs, and preferably collected prior to antimicrobial therapy where possible. Swabs should be well soaked in pus if used. The deepest part of the wound at the wound bed should be sampled (depending on ease of access), avoiding the any contaminating superficial microflora. | Pus specimens should be placed into CE marked leak proof containers which are sealed in a plastic bag. Swabs should be placed in appropriate transport medium, and then sealed in a plastic bag. Specimens should be transported and processed as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. Delays of over 48 hours are undesirable. | 4 days. 7 days if extended culture required. | Please note: pus sample should be submitted where possible, as this is preferred to pus swabs. Please contact the laboratory for advice. | Accredited to ISO 15189:2022
Pus/exudate/pus swab | Mycology Regional Reference Unit | Pus/Exudate - aspirate into a sterile white top universal container, dedicated sample required. Pus Swab - aimes charcoal swab | Pus swab in not an ideal specimen for fungal investigations and no microscopy is possible. If susceptibility testing is requested please indicated on the request form. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 7 - 21 days | TAT is dependent on the amount of mixed organisms present in the sample and how well the dedicated media prevents growth of unwanted isolates. Purity plating may be necessary. | Accredited to ISO 15189:2022
QuantiFERON®-TB Gold Plus (QFT®-Plus) - Latent TB Infection Detection | Wales Centre for Mycobacteria | 0.8-1.2 ml collected in four Qiagen QFT tubes | Sample forms must state time and date of collection. | Samples need to arrive in UHW Microbiology laboratory on the same day of collection and within 16 hours of collection. | Quantiferon results are reported within two days of receipt in the WCM. |  | Not Accredited. Planned to apply for accreditation in 2026/7.
Rapid Respiratory Testing | Prince Charles Hot Lab | Dry red topped swab. Throat swabs are the preferred sample type. | Sample must be accompanied by the appropriate rapid sticker on the request form to be processed via the rapid pathway. Samples without the rapid sticker form will be processed via Royal Glamorgan Hospital as a routine sample. Please contact the laboratory for further information. |  | 4 hours | Lower respiratory tract samples are not validated for this test and should be directed to Royal Glamorgen for testng. | Accredited to ISO 15189:2022
Rapid Respiratory Testing | Llandough Hot Lab | Dry red topped swab. Throat swabs are the preferred sample type. | Sample must be accompanied by the appropriate rapid sticker on the request form to be processed via the rapid pathway. Samples without the rapid sticker form will be processed via Royal Glamorgan Hospital as a routine sample. Please contact the laboratory for further information. |  | 4 hours | Lower respiratory tract samples are not validated for this test and should be directed to WSVC, University Hospital of Wales for testing. | Accredited to ISO 15189:2022
Rapid Respiratory Testing | Bacteriology (UHW) | Dry red topped swab. Throat swabs are the preferred sample type. | Sample must be accompanied by the appropriate rapid request form to be processed via the rapid pathway. Samples without the rapid form will be processed via WSVC as a routine sample. Please contact the laboratory for further information. | Transport to the laboratory as soon as possible. | 4 hours from receipt of specimen. | Lower respiratory tract samples are not validated for this test and should be directed to the main Virology lab (WSVC) in UHW for testng. | Accredited to ISO 15189:2022
Respiratory viruses | Wales Specialist Virology Centre | Dry red topped swab. Throat swabs are the preferred sample type. Lower respiratory tract samples should be sent in a white top sterile universal container. |  | Dry swabs: Ambient temperature Lower respiratory tract samples: Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 2 days | Routine respiratory screening includes screening for SARS-CoV-2. Extended screening performed for GP Sentinel Surveillance and Post-mortem samples. Individual testing for enteroviruses also available. Enterovirus testing will be performed as per Network algorithms. | PHW testing Accredited to ISO 15189:2022
Rubella IgG/IgM | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days for local processing. 6 days for referred samples. |  | PHW testing Accredited to ISO 15189:2022
Seminal fluid | Bacteriology | Up to 20ml in white top sterile universal container Please do not use primary tubes (test tube) for these investigations. |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days |  | Accredited to ISO 15189:2022
Sensitivity Testing of M. tuberculosis complex Isolates | Wales Centre for Mycobacteria | Separate sample not required as this test is done on the same sample for Species ID. | Separate sample not required as this test is done on the same sample for Species ID. | Separate sample not required as this test is done on the same sample for Species ID. | Any new resistant MTBC isolates will be telephoned to the referring laboratory or user. |  | Accredited to ISO 15189:2022 for Rifampicin and Isoniazid
Sinus Washout (MC&S) | Bacteriology | Up to 20ml in white top sterile universal container Please do not use primary tubes (test tube) for these investigations. |  | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 7 days |  | Accredited to ISO 15189:2022
Species Identification of Mycobacterial Isolates | Wales Centre for Mycobacteria | Positive liquid culture ≥3 ml aliquot LJ slope with positive growth = Entire LJ slope Positive mycobacterial blood culture = ≥1 ml aliquot | Positive cultures should be transported at ambient temp as quickly as possible. | Positive cultures should be transported at ambient temp as quickly as possible. | All new positive cultures grown within the WCM are telephoned to the referring laboratory within two days of detection. |  | Accredited to ISO 15189:2022
Sputum | Bacteriology | Up to 20ml in white top sterile universal container Please do not use primary tubes (test tube) for these investigations. | Only use Sterilin containers for these samples, as alternative brands have been known to leak. Ensure the dedicated lids are used and secured to prevent leaks. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days (longer for CF samples) | State if patient has COPD or Bronchiectasis. If investigation for atypical pathogens is requested, the sample will be tested for Legionella and AAFB in addition. Please state in clinical information if other investigations are required. | Accredited to ISO 15189:2022
Syphilis serology | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. Please do not send EDTA as this is unsuitable for confirmatory testing. | Please note any history of Syphilis on the request so results can be reviewed in line with previous titres where relevant. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days for local processing. 8 days for referred samples.* | Testing of full markers may incur an extra day. Syphilis confirmatory (IgM) testing is referred to UKHSA Bristol. | PHW testing Accredited to ISO 15189:2022 Referred IgM testing Accredited to ISO 15189:2022 Checked 13/10/25. (accredited body reference 8043)
TB PCR on Fixed Tissue Samples | Wales Centre for Mycobacteria | 10 x 10uM scrolls for FFPE samples in a sterile universal. FFPE sections mounted on glass microscopy slides are not acceptable. |  | Samples should be transported at ambient temp as quickly as possible. | Contact the WCM for current TATs | Samples are sent to Leeds NHS Microbiology | Not Accredited.
TB PCR on Fresh Tissue Sample and other Non-Respiratory Samples | Wales Centre for Mycobacteria | Fresh tissue samples to be sent in sterile saline. |  | Samples should be transported at ambient temp as quickly as possible. | Contact the WCM for current TATs | Samples are sent to Leeds NHS Microbiology | Accredited to ISO 15189:2022
Throat swab (C&S) | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | For molecular investigation of Chlamydia/gonorrhoea, see NAAT section below. For virology testing, please send a dry red topped swab. | Accredited to ISO 15189:2022
Tissues, bone and biopsies | Bacteriology | White top sterile universal container. Ensure there is NO preservative | If biopsy is small (smaller than a grain of rice) add 0.5ml of Ringers or sterile saline to prevent it from drying out. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 4 days. 8 days for extended culture. 14-21 days for fungal culture |  | Accredited to ISO 15189:2022
Tissues, bone and biopsies for fungal investigations | Mycology Regional Reference Unit | White top sterile universal container. If the sample is small, add 0.5ml of Ringers or sterile saline to prevent it from drying out. Ensure there is no preservative. | If further investigations such as Aspergillus/Mucorales PCR are required, please contact the laboratory to confirm requests. Please include clinical information to allow for thorough analysis and diagnosis. | If processing is delayed, refrigeration is preferable to storage at ambient temperature – samples should be sent to the laboratory as soon as possible. | 1 - 5 days for microscopy 7-21 days for culture identification | Microscopy results are reported as soon as available. Culture results can depend on the length of time taken for isolates to grow. | Accredited to ISO 15189:2022
Toxoplasma IgG | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days | Confirmatory/IgM/PCR testing is referred to PHW Toxoplasma Reference Unit, Swansea. | All testing Accredited to ISO 15189:2022
T-SPOT.TB testing. Blood samples. | Wales Centre for Mycobacteria | Whole blood samples collected in lithium heparin, sodium heparin, or sodium citrate tubes. Adults and children ≥ 10 years of age: 6 mL. Children ≥2 to <10 years of age: 4 mL. Children <2 years of age: 2 mL. |  | Samples must arrive at UHW Microbiology Cardiff laboratory by 2pm on the day of collection. | A final culture result is issued after 7 weeks. | Samples are sent to Oxford Diagnostics Laboratories | Accredited to ISO/IEC 17025:2017
Urethral swab for Neisseria gonorrhoeae (C&S) | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 4 days | For molecular investigation of Chlamydia/gonorrhoea, see NAAT section below | Accredited to ISO 15189:2022
Urine for Legionella antigen testing | Wales Specialist Virology Centre | Minimum of 1ml in white top sterile universal container or red top Boric Acid container | Take care not to overfill the container, as this can cause leakage and the sample may no longer be suitable to test. | Samples must be sent to the lab within 24 hours if stored at room temperature. If delayed the samples must be stored in the fridge. | 3 days for local processing. 6 days for referred samples.* | Non-negatives sent to UKHSA Colindale, Bacteriology Reference Department to confirm. Interim report issued. | PHW testing Accredited to ISO 15189:2022 Referred confirmatory testing Accredited to ISO 15189:2022 Checked 13/10/25. (accredited body reference 8197)
Urine for M,C & S | Bacteriology | MUST BE IN RED TOP BORIC ACID PRIMARY TUBE (test tube). To fill line (11ml) Use a paediatric boric acid tube if only a small volume can be obtained. | "Do not underfill the primary tube. If patient is producing sample at home, please ensure collection date and time have been written on the request form. Failure to do so may lead to the sample being rejected if we cannot establish the time between collection and receipt in the laboratory. Maximum time from collection to receipt is 96 hours. " | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | Note: boric acid may be inhibitory to some organisms and may inhibit tests for leucocyte esterase. | Accredited to ISO 15189:2022
Urine for Mycological Investigations (Yeast) | Mycology Regional Reference Laboratory | White top sterile universal container. | Please send a dedicated sample, stating fungal culture & ID on the request form. | Transport within UHW: Ambient temperature acceptable. Transport form external sites via DX transport. Storage: Keep refrigerated @ 2-8 degC | 2 - 5 days |  | Accredited to ISO 15189:2022
Urine for molecular testing (CMV/HSV/Enterovirus as appropriate) | Wales Specialist Virology Centre | Minimum of 0.5ml in white top sterile universal container. DO NOT USE BORIC ACID UNIVERSAL CONTAINER Urine samples received in containers with chemical additives are not suitable for molecular testing and will be rejected. | Take care not to overfill the container, as this can cause leakage and the sample may no longer be suitable to test. | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | CMV - 4 days for local processing. 7 days for referred samples. Enterovirus - 2 days for local processing. 5 days for referred samples. | CMV tested daily Mon-Fri, if numbers permit - specimens are batch tested. Enterovirus tested daily Mon-Fri. If sample rec’d by 4.30pm on previous day 24hr turnaround. | HSV/Enterovirus: PHW testing Accredited to ISO 15189:2022 CMV: Not currently accredited. Planned to apply for accreditation in 2026.
Urine for Pneumococcal antigen testing | Wales Specialist Virology Centre | Minimum of 1ml in white top sterile universal container or red top Boric Acid container | Take care not to overfill the container, as this can cause leakage and the sample may no longer be suitable to test. | Samples must be sent to the lab within 24 hours if stored at room temperature. If delayed the samples must be stored in the fridge. | 2 days |  | Not currently accredited. Planned to apply for accreditation in 2026/7.
Urine for S.haematobium | Bacteriology | 20 ml white top sterile universal container. Minimum volume of 10 ml. Please do not use primary tubes (test tube) for these investigations. | The LSHTM Diagnostic Parasitology Lab handbook states for the diagnosis of S. haematobium: Urine in a plain, sterile container - either a midday urine specimen (between noon and 3 pm) or a 24-hour collection of terminal urine. If a single urine specimen is to be submitted there should ideally be a minimum volume of 10 ml. | Transport time should be as short as possible. | 7 days | It is preferable to obtain total urine collected over the time period below as it has been shown that a maximum concentration of eggs are excreted at this time. | Accredited to ISO 15189:2022
Urine for tuberculosis | Wales Centre for Mycobacteria | 2x 25ml in white top sterile universal container. DO NOT USE BORIC ACID UNIVERSAL CONTAINER | Send 2 specimens on 3 consecutive days. |  | 7 weeks for negative result |  | Accredited to ISO 15189:2022
Varicella zoster IgG | Wales Specialist Virology Centre | 1x 6ml clotted blood sample (red/yellow top vacutainer) for this investigation Required volume will depend on the number of other investigations requested. |  | Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | 3 days | Please note: IgM testing is no longer offered by PHW; therefore, TAT may be longer if sample requires referral to external laboratory. Please contact the lab to discuss if applicable. | Not currently accredited. Planned to apply for accreditation in 2026.
Viral Load quantification for monitoring of known HIV, HBV, HCV patients | Wales Specialist Virology Centre | 2-3 x 5ml EDTA blood (purple top) or separated plasma from EDTA samples. Required volume will depend on the type and number of investigations requested. Please contact the laboratory for more information. |  | Whole blood samples must arrive within 4-6 hours of collection. Transport within UHW: Ambient temperature acceptable Transport from external sites: by refrigerated vehicle if possible. Extended journey at Ambient temperature may cause haemolysis of blood samples and degradation of nucleic acids. Storage: Refrigerated 2-8degC | HBV - 7 days for local processing. 8 days for referred samples. HCV - 4 days for local processing. 7 days for referred samples. HIV - 4 days for local processing. 8 days for referred samples. |  | HIV, HBV, HCV viral load: Not currently accredited. Planned to apply for accreditation in 2026/7.
Viral swabs for HSV, VZV, Enterovirus, or Measles testing | Wales Specialist Virology Centre | Dry (red top) swabs of mucosal lesions should be sent for HSV or VZV testing. Dry (red top) swabs can be used to collect throat or rectal samples for enterovirus testing. Dry (red top) swabs can be used to collect throat samples for measles testing. | Swabs of mucosal lesions should be sent for HSV or VZV testing. With a sterile lancet or needle raise the cover of the vesicle, use a swab to collect the vesicle fluid and then gently rub the base of the lesion with a dry (red top) swab and send in its container. | Transport and storage: Ambient temperature | Enterovirus - 2 days for local processing. 5 days for referred samples. HSV, VZV - 2 days Measles - 5 days | Swabs tested daily Mon-Fri. If sample rec’d by 4.30pm on previous day 24hr turnaround. | PHW testing Accredited to ISO 15189:2022
VRE screen | Bacteriology | Rectal or wound swab in amies charcoal swab or faeces in blue top universal container. Urine also accepted in red top boric acid container | On advice of IP&C only. Sample may be rejected in non-outbreak situations. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days | On advice of IP&C only | Accredited to ISO 15189:2022
Wound and ulcer swab | Bacteriology | Amies charcoal swab | Collect specimens before antimicrobial therapy where possible. | Samples should be sent to the laboratory as soon as possible. If processing is delayed, refrigeration is preferable to storage at ambient temperature. | 3 days |  | Accredited to ISO 15189:2022
*TAT for tests sent to reference laboratories start from the day the specimen is received by the referral laboratory.

## ARU, PENGU, SACU
Specimen/Investigation | Department | Specimen Type/Container/Volume Required | Guidance for Test Requesting/Sample Collection | Transport/Storage Conditions | Turnaround Times | Additional Information | Accreditation Status
Anaerobes for identification & antimicrobial susceptibility testing | UK Anaerobe Reference Unit | Pure isolates sent on charcoal transport swabs or in cooked meat broths are preferable as they provide maximum viability and recovery. | If you wish to send an alternative sample type, please do not do so without prior consent from the UKARU. Before referring an isolate to UKARU, please ensure that you have excluded the possibility that it may be, or may contain, a hazard group 3 organism. UKARU performs a standard panel of antimicrobial susceptibilities on referred isolates. Please contact the UKARU prior to sending any isolates if susceptibility testing outside of our standard panel is required. |  | 14 working days | For slow-growing isolates, mixed cultures or where additional tests are requested/required (e.g. further MICs) TATs may be extended. The UKARU has criteria in place where very mixed samples are rejected. Please note that samples that do not grow initially will be re-cultured. Samples deemed to be outside the area of expertise of the UKARU (eg aerobic actinomycetes, certain capnophilic organisms) advice for re-referral to the appropriate reference facility will be provided. For further details see website. | Accredited to ISO 15189:2022
Antimicrobial resistance confirmation: Carbapenemase detection (including VIM, IMP, NDM, KPC, OXA-48-like, OXA-23-like, OXA-24-like and OXA-58-like gene detection) | Specialist Antimicrobial Chemotherapy Unit | Enterobacterales, Pseudomonas or Acinetobacter species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Antimicrobial resistance confirmation: Phenotypic Carbapenemase detection (mCIM) | Specialist Antimicrobial Chemotherapy Unit | Enterobacterales, Pseudomonas or Acinetobacter species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Not currently accredited to ISO 15189 Plan to apply for accreditation in 2026/7.
Antimicrobial resistance confirmation: Confirmatory 3rd generation cephalosporinase detection (ESBL RT-PCR gene detection and/or phenotypic inhibitor testing for ESBL/ampC) | Specialist Antimicrobial Chemotherapy Unit | Enterobacterales species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Antimicrobial resistance confirmation: Mobile colistin resistance (MCR) gene detection | Specialist Antimicrobial Chemotherapy Unit | Enterobacterales, Pseudomonas or Acinetobacter species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Antimicrobial resistance confirmation: Glycopeptide resistance in Enterococci (vanA/vanB gene detection) | Specialist Antimicrobial Chemotherapy Unit | Enterococcus species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Antimicrobial resistance confirmation: Methicillin resistance in S. aureus confirmation (mecA/C gene detection) | Specialist Antimicrobial Chemotherapy Unit | Staphylococcus species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Antimicrobial resistance confirmation: Panton Valentine Leucocidin (PVL) detection (PVL gene detection) | Specialist Antimicrobial Chemotherapy Unit | Staphylococcus aureus complex isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Characterisation of C.difficile (Whole genome sequencing) | Pathogen Genomics Unit | Extracts referred by UKARU only – contact UKARU for advice | Extracts referred by UKARU only – contact UKARU for advice | Local courier | 7 working days | Results issued from UKARU | Accredited to ISO 15189:2022
Characterisation of Mycobacteria (Whole Genome Sequencing) | Pathogen Genomics Unit | Extracts referred by WCM only | Specimens referred by WCM only | Local courier | 10 days | Results issued from WCM | Accredited to ISO 15189:2022
Clostridioides difficile culture and WGS | UK Anaerobe Reference Unit | Faeces may be submitted from patients within Wales for WGS typing. | All samples that are first-line C. difficile testing positive - NAAT or GDH |  | 12 working days | For patients outside of Wales please contact us for advice on how we can support your request before submission. | Accredited to ISO 15189:2022
Combination synergy testing | Specialist Antimicrobial Chemotherapy Unit | Aerobic bacteria referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 5-17 working days |  | Not accredited
Glycopeptide resistance in S. aureus (hGISA/GISA) confirmation | Specialist Antimicrobial Chemotherapy Unit | Staphylococcus aureus complex isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 5-17 working days |  | Not accredited
HIV Resistance (Amplicon Sequencing) | Pathogen Genomics Unit | 10ml of EDTA blood (purple top) or 3ml of separated plasma from EDTA samples. | Sample must have HIV viral load tested prior to sending via WSVC and must be accompanied by the appropriate version of HIV resistance request form | Local courier | 14 working days | Referred via Microbiology departments | Accredited to ISO 15189:2022
Typing of Influenza and Enterovirus for epidemiological purposes and for the investigation of clusters / outbreaks (Whole genome sequencing) | Pathogen Genomics Unit | Specimens referred from Virology by prior arrangement. | Specimens referred from Virology by prior arrangement. | Local courier | 5-7 working days
Characterisation of Antibiotic Resistant Bacteria | Pathogen Genomics Unit | Extracts referred by SACU only | Extracts referred by SACU only | Local courier |  | Results issued from SACU
SARS CoV2 Surveillance. Typing of COVID for epidemiological purposes and for the investigation of clusters / outbreaks (Whole genome sequencing). | Pathogen Genomics Unit | Specimens referred from Virology | Specimens referred from Virology | DX or local courier | 10 working days | Referred via Microbiology departments | Accredited to ISO 15189:2022
Susceptibility testing: Confirmatory susceptibility testing (by gradient strip) | Specialist Antimicrobial Chemotherapy Unit | Aerobic bacteria referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Susceptibility testing: Additional susceptibility testing (by gradient strip) | Specialist Antimicrobial Chemotherapy Unit | Aerobic bacteria referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-10 working days |  | Accredited to ISO 15189:2022
Susceptibility testing: Colistin MIC by Broth Microdilution | Specialist Antimicrobial Chemotherapy Unit | Enterobacterales, Pseudomonas or Acinetobacter species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-14 working days |  | Not currently accredited to ISO 15189 Plan to apply for accreditation in 2026/7.
Susceptibility testing: Oritavancin MIC by microbroth dilution | Specialist Antimicrobial Chemotherapy Unit | Enterococcus species or Staphylococcus species isolates referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-14 working days |  | Not accredited
Susceptibility testing on Multidrug Resistant Organisms (Gram negative) by Broth Microdilution | Specialist Antimicrobial Chemotherapy Unit | Enterobacterales, Pseudomonas or Acinetobacter species isolate referred using swab with transport media/agar slope | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-14 working days |  | Not currently accredited to ISO 15189 Plan to apply for accreditation in 2026/7.
Susceptibility testing of CF Psudomonas (Micronaut) | Specialist Antimicrobial Chemotherapy Unit | Pseudomonas aeruginosa for CF patients (local agreement with UHW) | Isolates MUST be pure before sending | Ambient temperature preferred (but not critical) | 2-17 working days |  | Not accredited