| #### Public Health Wales #### Screening Division Laboratory Handbook |  |
| --- | --- |
| # Issue Date: 20/12/2022 | # Author: G Powell |
| # Version: 11 |  |
| Summary: This document details information required by users of the Public Health Wales NHS Trust Screening Division laboratory. It specifies the purpose and details of the Laboratory, including opening hours and contact details, as well as details on the examinations performed by the Laboratory. |  |

The full name and address of the Laboratory is:

PUBLIC HEALTH WALES NHS TRUST

SCREENING DIVISION LABORATORY

UNITS 4, 5 & 6,

GREEN MEADOW, MAGDEN PARK

LLANTRISANT, CF72 8XT

Introduction

The Public Health Wales NHS Trust Screening Division laboratory is located in a purpose built facility that opened in October 2008 to provide testing service for the cervical screening and bowel screening programmes in Wales.

The laboratory is staffed by a mixture of Biomedical Science Support Workers, Biomedical Scientists, Consultant Biomedical Scientists and networked Consultant Pathologists. The laboratory is directed by a Public Health Consultant and operationally led by the Laboratory Services Manager.

The bowel screening section of the laboratory provides a faecal immunochemical test (FIT) service to the whole of Wales as part of Bowel Screening Wales, whereas the cervical screening section provides a service to Cervical Screening Wales by processing Cervical Samples for high-risk Human Papilloma Virus (HPV) using the Hologic HPV Aptima Assay and Hologic Thinprep liquid-based cytology samples for the whole of Wales. It provides a cervical cytology screening and reporting service for the whole of Wales. The laboratory also provides a ‘Symptomatic FIT’ testing service to Health Boards across Wales.

Laboratory Director – Mrs Heather Lewis, Consultant in Public Health

Tel. 01443 235145

Laboratory Services Manager – Mr Gareth Powell

Tel.01443 235159

ISO 15189:2012 ACCREDITED TESTING REPERTOIRE

- Bowel cancer screening using the Minaris Medical HMJack Arc system for faecal haemoglobin

- Cervical cancer screening using the Hologic Aptima hrHPV assay and Hologic Thinprep liquid based cytology system

- Symptomatic FIT using the Minaris Medical HMJack Arc system for faecal haemoglobin

NO UNACCREDITED TESTS ARE PERFORMED BY THE LABORATORY

# BOWEL SCREENING SECTION

The bowel screening section is a testing service provider to Bowel Screening Wales (BSW), where BSW is defined as the Laboratory’s service user. Within the screening programme, eligible participants living in Wales are invited for screening every two years. Approximately 250,000 screening kits are reported per annum. Since September 2019 the programme has used quantitative Faecal Immunochemical Tests (FIT).

Staffing

The laboratory section is staffed by a mixture of Biomedical Scientists and Biomedical Science Support Workers.

Operating Hours

The laboratory is open Monday to Friday from 8.30am to 5.00pm. There is no ‘out of hours’ service provided from the laboratory.

Contact Details

For General Advice to participants, the bowel screening programme offers a free helpline to contact whenever clarification is required on any aspect of the bowel screening program in Wales. This helpline is located in the Bowel Screening Wales Central Administrative Department and operates between 8am-5pm, Monday-Friday and can be contacted on 0800 294 3370.

Clinical Advice: Clinical advice for Bowel Screening can be sought during laboratory operating hours from the following individuals:

Bowel Screening Wales Program Lead (Mr Steve Court): 02920 787855

Quality Assurance Biochemist for the Bowel Screening Wales Program (Dr. Catherine Bailey, Consultant Clinical Scientist): 01633 238048.

# Specimen Types

The Laboratory provides testing services to the programme only for qFIT tests manufactured by Minaris Medical Co. Ltd and supplied by Alpha Laboratories Limited as the approved screening test for bowel cancer. FIT test kits are issued by an external contractor (via the postal system) to eligible participants. The participant is required to add a small sample of stool into a FIT tube (collection picker), using the sampler attached to the lid of the device. The sample should be placed in the supplied envelope and returned in the post to the laboratory. The sample is then tested for the presence of human haemoglobin using automated integrated spherical turbidimetry. This requires one stool sample, and provides better sensitivity and specificity for human haemoglobin than the previous FOB test.

Sample Collection

An instruction leaflet is sent with each test kit and the participant is requested to read this before attempting to collect a sample for testing. There are strict sample acceptance criteria in place at the laboratory, with any test kit not meeting these requirements rejected for testing and a repeat sample requested.

Screening participants take a sample from a single bowel movement, which is done using the integrated stick within the sample tube, and writes the date that the sample was taken onto the picker.

Rejection Criteria

Unlabelled or incorrectly completed kits will not be accepted for testing at the laboratory. There must be a collection date on the sample device, and the device must be returned to the laboratory within 14 days of that collection date and prior to the expiry date of the kit. It will be rejected for testing if the received date is greater than 14 days from the sample date, or if there is no date and it is greater than 14 days since the kit was issued to the participant.

# Request Forms

There are no request forms issued with the test kit for bowel screening. Instead the test kit sent to an individual possesses an unique Bowel Screening Wales identification number that is specific for that participant and links the kit to the individual within the laboratory computer system.

Participants must not submit a test kit assigned to another individual, as it will not be accepted for testing.

# Submission of Test Kits

Test kits should be completed as soon as possible and must be returned to the laboratory for testing immediately following the collection of the sample. The laboratory has 14 days to complete the testing procedure from the collection date of the sample before it expires. Test kits must be returned in the addressed return envelope received with the test kit and placed in the Royal Mail postal system.

Urgent Samples

There is no facility to submit urgent requests. Sample prioritisation procedures are in operation within the laboratory.

Test Results

Participants will receive their test results in the post in the form of a letter stating the result and any subsequent action that may need to be required. This letter is issued by the bowel screening programme administration department. The laboratory does not directly issue results to participants or clinicians.

Quality Assurance

In addition to strict test kit acceptance criteria, the laboratory operates daily internal quality control procedures and participates in a recognised national external quality assurance scheme (WEQAS FIT).

Factors Affecting the Performance of the Test

Quality of the sample may affect the performance; participants are required to take a sample correctly following the instructions provided. Sample loading can affect sample readings, as well as the date tested against the date sampled. The tests must be taken and tested within the 14 day limit to ensure degradation of Hb does not affect the test outcome.

Requesting Additional Investigations

There are no facilities for requesting additional examinations within the bowel screening programme.

Test Turnaround Times

Bowel screening test kit turnaround time is measured from receipt in the laboratory to authorisation of the final result. This standard is 95% of kits tested within 7 calendar days of receipt in the laboratory.

CERVICAL SCREENING SECTION

The cervical screening section of the laboratory provides a service to Cervical Screening Wales (CSW); primary screening for high risk HPV subtypes using the Hologic Aptima platform (approximately 200,000 samples per annum) and reflex cytology processing and screening for high risk HPV positive samples using the Hologic Thinprep system (approximately 24,000 samples per annum). It provides an all-Wales clinical reporting service (cytology and HPV) for HPV positive and cytologically abnormal samples. The laboratory operates Hologic Thinprep T5000 LBC automated processors and the Hologic Aptima HPV testing platforms.

Staffing

The laboratory is staffed by a mixture of Biomedical Science Support Workers, Biomedical Scientists, Consultant Biomedical Scientists and networked Consultant Pathologists.

Operating Hours

The laboratory is open Monday to Friday from 7am to 5pm. There is no ‘out of hours’ service provided from the laboratory.

Contact Details

General Advice: To request general advice about Screening Division laboratory service telephone the following numbers within the laboratory operating hours:

Cervical Screening Laboratory Office: 01443 235153 or 235154 (8am - 5pm).

Laboratory Services Manager: 01443 235159.

The laboratory staff are not permitted to discuss participant details with callers. All enquiries regarding test results must be referred to the regional Cervical Screening Administration Departments (CSADs).

Clinical Advice: For clinical advice, contact the following individuals within laboratory operating hours:

CSW Head of Programme (Lisa Henry): Lisa.Henry@wales.nhs.uk

CSW Clinical Lead (Dr Katie Walbeoff): katie.walbeoff2@wales.nhs.uk

Consultant Pathologist covering Cwm Taf UHB area, based at Royal Glamorgan Hospital, Llantrisant (Dr Joanne Roche): 01443 443253.

Consultant Pathologist covering Cardiff & Vale UHB area, based at University Hospital Wales, Cardiff (Dr Tom Hockey): 02920 74 2712.

Consultant Biomedical Scientist covering Betsi Cadwalader and Powys UHB areas, based at Glan Clwyd Hospital (Mrs Amanda Savage): 01745 448585 x2911

Consultant Biomedical Scientist covering all other areas, based at Magden Park (Prof Andrew Evered): 01443 235145

Specimen Types

Invitations for a cervical screening test are sent to all women aged between 25 and 64, at intervals dependent on previous screening history; this is done by Cervical Screening Administration Departments (CSAD) and not the Laboratory. Only cervical screening Hologic Thinprep samples will be accepted for HPV screening.

Only cervical samples will be accepted for testing; vaginal and vault samples are outside of the remit of the cervical screening programme and will be rejected for testing by the laboratory. Clinicians wishing to take this sample type should seek an alternative provider.

Sample Collection

Only clinical staff trained in the collection of Hologic Thinprep liquid-based cervical samples can obtain samples for cervical screening purposes in Wales, and who have been issued with a CSW smear taker code. Samples must be collected using a Cervex-broom*. Samples must be submitted as soon as practically possible, as the sample is only viable for HPV testing for 30 days from the date of collection.

*0ccasionally an endocervical brush and a Cervex-broom may need to be submitted (dependent on nature of the cervix or during follow-up for an abnormality in endocervical cells; see CSW Smear Taker Guide for details).

The sample vial must be labelled with the woman’s forename, surname and at least one other form of identification from date of birth, NHS number or hospital number (note: name and address only is not acceptable).

Request Forms

For cervical screening samples the green Cervical Screening Wales HMR101 request forms must be used.

Complete the following for both types of request form:

- State the participant’s full name, address, date of birth and where available, the NHS number. Check to ensure these details match those used on the sample vial. Ideally this should be done using printed patient identification labels in order to minimise errors.

- Complete all parts of these request forms fully, accurately and legibly using printed patient identification labels and a ballpoint pen to fill in other details.

- State the requesting clinician, location and sample taker code.

- State the date of collection in the designated part of the request form.

- State relevant clinical details on the request form.

Factors Affecting the Performance of the Test

Cervical screening samples can only be collected in Thinprep sample vials. The cervix must be directly and adequately sampled and the sample transferred into the specimen vial. CSW guidelines for collection of a cervical sample must be followed. The sample must be processed within 30 days of sample collection date and must be accompanied by a fully completed request form. The excessive use of lubricant, douches and intimate creams may also have a detrimental effect on outcome.

Sample Reject Criteria

The laboratory operates strict patient identification / acceptance criteria based upon guidance issued to sample takers by CSW. Any rejected samples will result in a repeat sample being requested. Samples will be rejected for processing if:

- The vial is unlabelled, or contains less than three required forms of ID (see sample collection above)

- The request form doesn’t contain essential required patient demographics (full name, DOB, NHS number), or form is missing.

- The sample has come from an uninvited participant who is under 24.5 years.

- The sample is taken less than 3 months following a previous cervical test or 3 months post-natal.

- Is a vault or vaginal sample.

- The sample taker has stated that full cervix visualisation was not possible at time of sample collection.

- The sample contains a Cervex-broom head, or is not within an Hologic ThinPrep vial.

- The Hologic ThinPrep vial has passed it’s expiry date

- The vial has been damaged or leaked during collection or transport, resulting in a significant loss of fluid from the sample.

- The sample taker has not completed their personal information and code (smear taker code) adequately on the request form.

- The vial is received more than 30 days after collection date.

Submitting Samples to the Laboratory

The completed sample must be placed into the specimen bag attached to the request form and the batch of samples placed into a pink Cervical Screening Wales specimen transport bag. The samples must be sent to the pathology department of the local hospital to await subsequent transportation to the Screening Division Laboratory by dedicated couriers.

Samples taken within the Cardiff and Vale UHB must be submitted to the Pathology department at the University Hospital of Wales for daily despatch to Magden Park.

Samples taken within the Cwm Taf Morgannwg UHB catchment area must be submitted to the pathology departments at either the Royal Glamorgan or Prince Charles hospitals and  these are transported to the Screening Division laboratory on a daily basis.

Samples taken in the Hywel Dda UHB area are transferred to Singleton Hospital, Swansea where they are combined with samples from Swansea Bay UHB. These samples are then collected daily to be transported to the Screening Division Laboratory.

Samples taken in the Aneurin Bevan UHB area must be sent to pathology specimen reception at the Royal Gwent Hospital. These samples are then collected daily to be transported to the Screening Division Laboratory.

Samples taken in the Powys UHB area must be sent to pathology specimen reception at Bronllys Hospital for daily despatch to Magden Park.

Samples taken in the Betsi Cadwalader UHB area must be sent to pathology specimen reception at Wrexham Maelor Hospital for daily despatch to Magden Park.

Urgent Samples

Urgent samples that the sample taker requires to be  prioritised must have the word Urgent’ clearly indicated in the ‘Screening History/Other Information’ part of the request form.

Test Results

Sample takers will receive a paper-based report from the local Cervical Screening Administration Department (CSAD) and an electronic report via the ‘GP links’ system where applicable (note: the Screening Division laboratory does not have the facility to print reports). Participants will receive their test results in the postal system in the form of a letter stating the result and any subsequent action that may need to be required.

The Screening Division laboratory does not provide verbal results over the telephone to participants or sample takers. Participants must contact their GP or clinic, whilst sample takers must contact their local CSAD office.

Quality Assurance

In addition to strict sample acceptance criteria, the laboratory operates daily internal quality control procedures and participates in three recognised national external quality assurance schemes that cover sample processing/staining (PHE TEQA), cytology screening/reporting (PHE GEQA) and HPV testing (NEQAS and QCMD HPV).

Requesting Additional Investigations

There are currently no other facilities for requesting additional examinations in the cervical screening testing procedure.

Referral of Samples

In addition to the samples processed and reported at the Screening Division laboratory, potentially abnormal cervical cytology samples are sent for reporting to Consultant Pathologists based in local hospitals as part of the All-Wales Pathologist Network. Health Boards supporting this service are:

Cardiff and Vale UHB, University Hospital of Wales, Heath Park, Cardiff. CF14 4XW

Cwm Taf Morgannwg UHB, Royal Glamorgan Hospital, Llantrisant. CF72 8XR.

Betsi Cadwaladr UHB, Wrexham Maelor Hospital, Croesnewydd Road, Wrexham, LL13 7TD.

Test Turnaround Times

# All samples must be reported (HPV and cytology if required) within 21 days of the date of receipt at the specimen reception site or Screening Division Laboratory.

# SYMPTOMATIC FIT TESTING SERVICE

The laboratory provides a Symptomatic FIT testing service to participating Health Boards across Wales, where the Health Boards are defined as the Laboratory’s service users. Referrals are made into this service by both primary and secondary care clinicians, using referral criteria defined by national guidelines such as those issued by the National Endoscopy Programme and professional bodies, as well as locally defined and agreed pathways. Approximately 55,000 tests are reported per annum.

Staffing

The laboratory section is staffed by a mixture of Biomedical Scientists and Biomedical Science Support Workers, with a Service Coordinator managing the administration functions.

Operating Hours

The laboratory is open Monday to Friday from 8.30am to 5.00pm. There is no ‘out of hours’ service provided from the laboratory.

Contact Details

For General Advice to clinicians, the laboratory can be contacted via email on PHW.SymptomaticReferral@wales.nhs.uk. For advice on the clinical follow up of test results, service users must contact their local gastroenterology teams. The laboratory does not handle patient queries or issue results to patients; these remain the responsibility of the local Health Boards.

Clinical Advice: Clinical advice can be sought during laboratory operating hours from the following individuals:

Laboratory Service Manager (Mr Gareth Powell): 01443 235159 / gareth.powell2@wales.nhs.uk

Quality Assurance Biochemist (Dr. Catherine Bailey, Consultant Clinical Scientist): 01633 238048 / Catherine.bailey2@wales.nhs.uk

# Specimen Types

This service uses the Minaris Medical Co. Ltd. Faecal Immunochemical tests and HMJack Arc analyser. FIT test kits are issued by the laboratory following completion of the online referral form by the clinician (https://phw.nhs.wales/services-and-teams/screening/bowel-screening/questionnaire-usc-fit-for-symptomatic-referrals). They are sent directly to the participant via Royal Mail, and the patient is required to add a small sample of stool into a FIT tube (collection picker), using the sampler attached to the lid of the device. The sample should be placed in the supplied envelope and returned in the post to the laboratory. The sample is then tested for the presence of human haemoglobin using automated integrated spherical turbidimetry, and a numerical value is produced. The units of measurement are ug Haemoglobin / g faecal material, with a positive cut off value of 10 ug Haemoglobin / g faecal material  .

Sample Collection

A letter containing information on the test, along with an instruction leaflet is sent with each test kit and the participant is requested to read these before collecting a sample for testing. Patients take a sample from a single bowel movement, which is done using the integrated stick within the sample tube, and write the date that the sample was taken onto the picker. There are strict sample acceptance criteria in place at the laboratory, with any test kit not meeting these requirements rejected for testing. The Laboratory reissues test kits when the original has been rejected. Failsafe lists are returned to local Health Boards, and they are responsible for the follow up of rejected tests (e.g. further test requested if required).

Rejection Criteria

Unlabelled or incorrectly completed kits will not be accepted for testing at the laboratory. There must be a collection date on the sample device, and the device must be returned to the laboratory within 14 days of that collection date and prior to the expiry date of the kit. It will be rejected for testing if the received date is greater than 14 days from the sample date, or if there is no date and it is greater than 14 days since the kit was issued to the patient

# Request Forms

There are no request forms issued with the test kit. The online referral form is used to generate a hard copy request form within the laboratory, and this is used to register the samples on to the Laboratory Information Management System (LIMS) (Intersystems TCL2016).

# Submission of Test Kits

Test kits should be completed as soon as possible and must be returned to the laboratory for testing immediately following the collection of the sample. The laboratory has 14 days to complete the testing procedure from the collection date of the sample before it expires. Test kits must be returned in the addressed return envelope received with the test kit and placed in the Royal Mail postal system.

Urgent Samples

There is no facility to submit urgent requests. Sample prioritisation procedures are in operation within the laboratory.

Test Results

Results are not issued directly to patients. The test result is automatically sent from the analyser to LIMS, and from there is sent to Welsh Clinical Portal and GP Links. No paper copies of results are sent. Results are sent within 48 hours of receipt of sample.

Quality Assurance

In addition to strict test kit acceptance criteria, the laboratory operates daily internal quality control procedures and participates in a recognised national external quality assurance scheme (WEQAS FIT).

Factors Affecting the Performance of the Test

Quality of the sample may affect the performance; patients are required to take a sample correctly following the instructions provided. Sample loading can affect sample readings, as well as the date tested against the date sampled. The tests must be taken and tested within the 14 day limit to ensure degradation of Hb does not affect the test outcome.

Requesting Additional Investigations

It is not possible to request additional examinations on this test type.

Test Turnaround Times

Test kits are despatched within 24 hours of a referral being received (weekdays only), and are sent via first class post. The sample is also returned via first class post, and is tested (and results issued) within 48 hours of receipt in to the laboratory.